## Sheet1
Sample Date | Sample Description | Component | Result | Unit
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.6 | pH unit
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.4 | mg/L
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.02 | mg/L
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 5.3 | mg/L
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0046 | mg/L
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.01 | mg/L
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 23 | cfu/100 mL
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.01 | mg/L
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.02 | mg/L
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.73 | mg/L
2017-06-20 13:42 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.016 | mg/L
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | 0.11 | mg/L
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1.8 | mg/L
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.2 | mg/L
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 270 | cfu/100 mL
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.024 | mg/L
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0022 | mg/L
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.012 | mg/L
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.33 | mg/L
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.02 | mg/L
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.6 | pH unit
2017-06-24 14:50 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.034 | mg/L
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.016 | mg/L
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 2.3 | mg/L
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.02 | mg/L
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.4 | mg/L
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.5 | pH unit
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0018 | mg/L
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 230 | cfu/100 mL
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.023 | mg/L
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.39 | mg/L
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.02 | mg/L
2017-07-05 15:01 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.02 | mg/L
2017-08-02 13:27 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 58 | cfu/100 mL
2017-08-02 13:27 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.0079 | mg/L
2017-08-02 13:27 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.028 | mg/L
2017-08-02 13:27 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1 | mg/L
2017-08-02 13:28 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2017-08-02 13:27 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0065 | mg/L
2017-08-02 13:27 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.02 | mg/L
2017-08-02 13:27 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 1.1 | mg/L
2017-08-02 13:27 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.02 | mg/L
2017-08-02 13:28 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.7 | mg/L
2017-08-02 13:27 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.011 | mg/L
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.4 | pH unit
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.02 | mg/L
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.02 | mg/L
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0038 | mg/L
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.021 | mg/L
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.2 | mg/L
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1.1 | mg/L
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.041 | mg/L
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 21 | cfu/100 mL
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.011 | mg/L
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.053 | mg/L
2017-09-19 15:31 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.16 | mg/L
2017-10-31 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.046 | mg/L
2017-10-31 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 4.5 | mg/L
2017-10-31 15:40 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.031 | mg/L
2017-10-31 15:40 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.02 | mg/L
2017-10-31 15:40 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | <1.6 | cfu/100 mL
2017-10-31 15:40 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.97 | mg/L
2017-10-31 15:40 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.24 | mg/L
2017-10-31 15:40 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0037 | mg/L
2017-10-31 15:40 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.036 | mg/L
2017-10-31 15:41 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 6.4 | pH unit
2017-10-31 15:40 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.02 | mg/L
2017-10-31 15:40 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.01 | mg/L
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.5 | mg/L
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.027 | mg/L
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.11 | mg/L
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.024 | mg/L
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.019 | mg/L
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0021 | mg/L
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.02 | mg/L
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 1.6 | cfu/100 mL
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.02 | mg/L
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | <0.5 | mg/L
2017-11-29 13:19 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.011 | mg/L
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.22 | mg/L
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 3.6 | mg/L
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.8 | pH unit
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.026 | mg/L
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.048 | mg/L
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.062 | mg/L
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 1.6 | cfu/100 mL
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.015 | mg/L
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.02 | mg/L
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1.2 | mg/L
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.02 | mg/L
2017-12-13 16:12 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | <0.0006 | mg/L
2018-01-30 16:35 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.38 | mg/L
2018-01-30 16:36 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.1 | mg/L
2018-01-30 16:35 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 11 | cfu/100 mL
2018-01-30 16:35 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0013 | mg/L
2018-01-30 16:35 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.018 | mg/L
2018-01-30 16:35 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.037 | mg/L
2018-01-30 16:35 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.081 | mg/L
2018-01-30 16:35 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.037 | mg/L
2018-01-30 16:36 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.9 | pH unit
2018-01-30 16:35 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | <0.5 | mg/L
2018-01-30 16:35 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.098 | mg/L
2018-01-30 16:35 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2018-01-30 16:36 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.2 | mg/L
2018-02-27 15:03 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 13 | cfu/100 mL
2018-02-27 15:03 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | <0.5 | mg/L
2018-02-27 15:03 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.027 | mg/L
2018-02-27 15:03 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.021 | mg/L
2018-02-27 15:04 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 3.8 | mg/L
2018-02-27 15:04 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.8 | pH unit
2018-02-27 15:03 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0075 | mg/L
2018-02-27 15:03 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.1 | mg/L
2018-02-27 15:04 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.035 | mg/L
2018-02-27 15:03 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0012 | mg/L
2018-02-27 15:03 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2018-02-27 15:03 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0075 | mg/L
2018-02-27 15:03 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.012 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.00098 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.21 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 8 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.9 | pH unit
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.017 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.018 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 13 | cfu/100 mL
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.027 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.034 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.017 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.009 | mg/L
2018-04-11 15:09 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.011 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0043 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.6 | pH unit
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.033 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.0094 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.9 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1.1 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.17 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 420 | cfu/100 mL
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.0073 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.009 | mg/L
2018-07-10 15:51 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.009 | mg/L
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.1 | mg/L
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.007 | mg/L
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.033 | mg/L
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.13 | mg/L
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.02 | mg/L
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.3 | pH unit
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 13 | cfu/100 mL
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.02 | mg/L
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.1 | mg/L
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0079 | mg/L
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.22 | mg/L
2018-08-08 14:01 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1.1 | mg/L
2018-09-20 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.047 | mg/L
2018-09-20 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.02 | mg/L
2018-09-20 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.47 | mg/L
2018-09-20 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.014 | mg/L
2018-09-20 15:58 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.061 | mg/L
2018-09-20 15:58 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.8 | mg/L
2018-09-20 15:58 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2018-09-20 16:00 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1.6 | mg/L
2018-09-20 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0076 | mg/L
2018-09-20 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.02 | mg/L
2018-09-20 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.051 | mg/L
2018-09-20 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 390 | cfu/100 mL
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.012 | mg/L
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.4 | mg/L
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1.4 | mg/L
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.4 | pH unit
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.009 | mg/L
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.016 | mg/L
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.009 | mg/L
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.19 | mg/L
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.027 | mg/L
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0024 | mg/L
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | <1.6 | cfu/100 mL
2018-10-18 12:51 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.015 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.17 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.4 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.024 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | <1.6 | cfu/100 mL
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0073 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.026 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.87 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0073 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.02 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.8 | pH unit
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.01 | mg/L
2018-11-06 14:03 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.00088 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.044 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.013 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.9 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.27 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.013 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.026 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.011 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.056 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.81 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | <0.0006 | mg/L
2018-12-04 15:28 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 470 | cfu/100 mL
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.004 | mg/L
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0017 | mg/L
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.044 | mg/L
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.019 | mg/L
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.22 | mg/L
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 3.3 | cfu/100 mL
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.8 | pH unit
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.88 | mg/L
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.057 | mg/L
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.004 | mg/L
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 5.4 | mg/L
2019-01-17 15:00 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.008 | mg/L
2019-02-28 15:23 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | <0.002 | mg/L
2019-02-28 15:23 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.17 | mg/L
2019-02-28 15:23 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.8 | mg/L
2019-02-28 15:23 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | <0.004 | mg/L
2019-02-28 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.013 | mg/L
2019-02-28 15:23 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | <1.6 | cfu/100 mL
2019-02-28 15:23 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.005 | mg/L
2019-02-28 15:23 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-02-28 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.2 | mg/L
2019-02-28 15:24 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 8 | pH unit
2019-02-28 15:23 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | <0.0006 | mg/L
2019-02-28 15:23 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.0097 | mg/L
2019-02-28 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.002 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.014 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.069 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.73 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.054 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.64 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 3.8 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0016 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.012 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.012 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.01 | mg/L
2019-03-19 15:54 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 13 | cfu/100 mL
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.015 | mg/L
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0097 | mg/L
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0097 | mg/L
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | <0.5 | mg/L
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.8 | pH unit
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.016 | mg/L
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 16 | cfu/100 mL
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.021 | mg/L
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.21 | mg/L
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.9 | mg/L
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0015 | mg/L
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.008 | mg/L
2019-04-16 14:30 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0054 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0054 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 82 | cfu/100 mL
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.022 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.017 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.016 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.16 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 83.4 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.00078 | mg/L
2019-05-15 13:25 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.006 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | <0.0006 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.005 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.051 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 13 | cfu/100 mL
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.019 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.5 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.024 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.017 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.01 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.2 | pH unit
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.63 | mg/L
2019-06-13 15:24 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.017 | mg/L
2019-07-30 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.07 | mg/L
2019-07-30 14:02 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.023 | mg/L
2019-07-30 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-07-30 14:02 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.8 | mg/L
2019-07-30 14:02 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0033 | mg/L
2019-07-30 14:02 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.5 | pH unit
2019-07-30 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.018 | mg/L
2019-07-30 14:01 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.75 | mg/L
2019-07-30 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.016 | mg/L
2019-07-30 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.005 | mg/L
2019-07-30 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0033 | mg/L
2019-07-30 14:01 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0019 | mg/L
2019-07-30 14:04 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 11 | cfu/100 mL
2019-08-13 14:46 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0085 | mg/L
2019-08-13 14:45 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.011 | mg/L
2019-08-13 14:45 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.71 | mg/L
2019-08-13 14:45 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.025 | mg/L
2019-08-13 14:45 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.036 | mg/L
2019-08-13 14:45 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-08-13 14:45 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.23 | mg/L
2019-08-13 14:45 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0048 | mg/L
2019-08-13 14:46 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.046 | mg/L
2019-08-13 14:45 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0085 | mg/L
2019-08-13 14:46 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 9 | mg/L
2019-08-13 14:46 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2019-08-13 14:45 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 44 | cfu/100 mL
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0035 | mg/L
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.016 | mg/L
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.01 | mg/L
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 6.6 | pH unit
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.014 | mg/L
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.014 | mg/L
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.016 | mg/L
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.32 | mg/L
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.9 | mg/L
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.02 | mg/L
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 180 | cfu/100 mL
2019-09-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 5.9 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.022 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 4.9 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.8 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.02 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.026 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | <1.6 | cfu/100 mL
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.01 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | <0.0006 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.018 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.12 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.018 | mg/L
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.1 | pH unit
2019-10-08 15:13 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.089 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.016 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.009 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.5 | pH unit
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.016 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.013 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.85 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | <0.0006 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.013 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.1 | mg/L
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 18 | cfu/100 mL
2019-11-21 13:39 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.013 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.13 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.038 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.8 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.022 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.002 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.029 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.005 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 8.2 | cfu/100 mL
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1.1 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.027 | mg/L
2019-12-10 15:41 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.027 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.00078 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | <0.005 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | <0.006 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.78 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.054 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0058 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0058 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 1.6 | cfu/100 mL
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.022 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.007 | mg/L
2020-01-07 14:11 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.2 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.011 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.11 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.055 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | <1.6 | cfu/100 mL
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.96 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.025 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.011 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0015 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 4.7 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.6 | pH unit
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.008 | mg/L
2020-02-19 12:49 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.042 | mg/L
2020-03-24 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.032 | mg/L
2020-03-24 15:59 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.76 | mg/L
2020-03-24 16:00 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.8 | pH unit
2020-03-24 15:59 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.06 | mg/L
2020-03-24 15:59 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.011 | mg/L
2020-03-24 15:59 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.025 | mg/L
2020-03-24 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7 | mg/L
2020-03-24 15:59 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 3.3 | cfu/100 mL
2020-03-24 16:00 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.011 | mg/L
2020-03-24 15:59 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0018 | mg/L
2020-03-24 15:59 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2020-03-24 15:59 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.007 | mg/L
2020-03-24 15:59 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.009 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.023 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0013 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.012 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.044 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.019 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.9 | pH unit
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.6 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | <1.7 | cfu/100 mL
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.066 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.89 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.034 | mg/L
2020-05-21 14:56 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.019 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.035 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.011 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.019 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.7 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.047 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 3.3 | cfu/100 mL
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.045 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.01 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.01 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0011 | mg/L
2020-06-17 15:36 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7 | mg/L
2020-07-01 14:20 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0027 | mg/L
2020-07-01 14:21 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.011 | mg/L
2020-07-01 14:20 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 8.2 | cfu/100 mL
2020-07-01 14:20 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2020-07-01 14:20 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.017 | mg/L
2020-07-01 14:20 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.0089 | mg/L
2020-07-01 14:20 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0087 | mg/L
2020-07-01 14:21 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0087 | mg/L
2020-07-01 14:20 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.009 | mg/L
2020-07-01 14:20 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.097 | mg/L
2020-07-01 14:21 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.4 | mg/L
2020-07-01 14:21 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.5 | pH unit
2020-07-01 14:20 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.75 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.006 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | <0.002 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 13 | cfu/100 mL
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | <0.005 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.078 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | <0.006 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0053 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.5 | pH unit
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | <0.002 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1.1 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.2 | mg/L
2020-08-18 14:37 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 8.5 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | <0.005 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0032 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.022 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.1 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0042 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.007 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | <0.006 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.8 | pH unit
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 1.6 | cfu/100 mL
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 7.8 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1 | mg/L
2020-09-15 14:59 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0042 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.025 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7 | pH unit
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 8.5 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.16 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.16 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 7800 | cfu/100 mL
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.078 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.061 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | 0.0051 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1.9 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.76 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0056 | mg/L
2020-10-14 16:01 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.066 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.6 | pH unit
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.8 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.7 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.047 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.022 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 11 | cfu/100 mL
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0041 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.25 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0041 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.061 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0015 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.006 | mg/L
2020-11-11 14:24 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.2 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.038 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.78 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 8.2 | cfu/100 mL
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.022 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.014 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0023 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.014 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 5.9 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.003 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.028 | mg/L
2020-12-10 13:54 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.00069 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.24 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.016 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 13 | cfu/100 mL
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.7 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.013 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.009 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.016 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.017 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.65 | mg/L
2021-01-26 15:22 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.025 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | 0.0077 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0017 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.32 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | <0.002 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 13 | cfu/100 mL
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.8 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.02 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.006 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0077 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.025 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.72 | mg/L
2021-02-23 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.039 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.00078 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.2 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0078 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 6.6 | cfu/100 mL
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 5.8 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.031 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.008 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.5 | pH unit
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0078 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.04 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.59 | mg/L
2021-03-09 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.016 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0024 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.19 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0091 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 66 | cfu/100 mL
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 6.2 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | <0.005 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.004 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.7 | pH unit
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0091 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | <0.006 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 0.61 | mg/L
2021-04-22 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.024 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Nitrite (as N) | <0.002 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Chlorophyll A | 0.0016 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Total Nitrogen (as N) | 0.34 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Total Oxidised Nitrogen (as N) | 0.0079 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Enterococci | 3.3 | cfu/100 mL
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Oxygen | 8.2 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as N) | 0.053 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Dissolved Reactive Phosphorus (as P) | 0.019 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | pH (by field measurement) | 7.8 | pH unit
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Nitrate (as N) | 0.0079 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Ammoniacal Nitrogen (as NH4) | 0.069 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | TBOD5 | 1 | mg/L
2021-05-25 | Omaha STP Wai1 (Waikokopu Arm) | Total Phosphorus (as P) | 0.098 | mg/L